# IoT Gateway Alarm Service - Available CLI Commands
## Base Command Structure
All commands follow the pattern: python3 -m src.cli.alarm_cli <command> [options]
## Available Commands
### 1. add-simple - Create Simple Alarm Rules
# Basic syntax
python3 -m src.cli.alarm_cli add-simple <rule_name> <device_id> <sensor_type> <operator> <threshold> <priority> <message>

# Temperature alarm examples
python3 -m src.cli.alarm_cli add-simple "temp_high" "device-1" "temperature" ">" 30.0 2 "Temperature too high"
python3 -m src.cli.alarm_cli add-simple "temp_low" "device-1" "temperature" "<" 10.0 1 "Temperature too low"
python3 -m src.cli.alarm_cli add-simple "temp_critical" "device-1" "temperature" ">=" 50.0 3 "CRITICAL: Temperature exceeded safe limits"
python3 -m src.cli.alarm_cli add-simple "temp_freezing" "device-1" "temperature" "<=" 0.0 3 "CRITICAL: Freezing temperature detected"

# Humidity alarm examples
python3 -m src.cli.alarm_cli add-simple "humidity_high" "device-2" "humidity" ">" 80.0 2 "Humidity too high"
python3 -m src.cli.alarm_cli add-simple "humidity_low" "device-2" "humidity" "<" 30.0 1 "Low humidity detected"
python3 -m src.cli.alarm_cli add-simple "humidity_critical" "device-2" "humidity" ">=" 95.0 3 "Critical humidity level"

# Pressure alarm examples
python3 -m src.cli.alarm_cli add-simple "pressure_drop" "device-3" "pressure" "<" 950.0 2 "Pressure drop detected"
python3 -m src.cli.alarm_cli add-simple "pressure_spike" "device-3" "pressure" ">" 1100.0 3 "High pressure alert"
python3 -m src.cli.alarm_cli add-simple "pressure_normal" "device-3" "pressure" "==" 1013.25 1 "Normal atmospheric pressure"

# Motion sensor examples
python3 -m src.cli.alarm_cli add-simple "motion_detected" "device-4" "motion" "==" 1 1 "Motion detected"
python3 -m src.cli.alarm_cli add-simple "no_motion" "device-4" "motion" "==" 0 1 "No motion detected"

# Light sensor examples
python3 -m src.cli.alarm_cli add-simple "light_bright" "device-5" "light" ">" 1000 1 "Very bright light detected"
python3 -m src.cli.alarm_cli add-simple "light_dark" "device-5" "light" "<" 10 1 "Very low light conditions"
python3 -m src.cli.alarm_cli add-simple "light_normal" "device-5" "light" "!=" 500 1 "Light level changed from normal"

# Voltage/Battery examples
python3 -m src.cli.alarm_cli add-simple "battery_low" "device-6" "battery" "<" 20.0 2 "Low battery warning"
python3 -m src.cli.alarm_cli add-simple "battery_critical" "device-6" "battery" "<=" 5.0 3 "Critical battery level"
python3 -m src.cli.alarm_cli add-simple "voltage_high" "device-7" "voltage" ">" 5.5 2 "High voltage detected"
python3 -m src.cli.alarm_cli add-simple "voltage_low" "device-7" "voltage" "<" 3.0 2 "Low voltage warning"

# Environmental examples for different devices
python3 -m src.cli.alarm_cli add-simple "room1_temp_high" "room1-sensor" "temperature" ">" 25.0 2 "Room 1 temperature high"
python3 -m src.cli.alarm_cli add-simple "outdoor_temp_extreme" "outdoor-sensor" "temperature" ">" 45.0 3 "Extreme outdoor temperature"
python3 -m src.cli.alarm_cli add-simple "greenhouse_humidity" "greenhouse-01" "humidity" "<" 60.0 2 "Greenhouse humidity too low"
python3 -m src.cli.alarm_cli add-simple "server_room_temp" "server-monitor" "temperature" ">" 30.0 3 "Server room overheating"
### 2. add-conditional - Create Conditional/Complex Alarm Rules
# Get help for conditional syntax
python3 -m src.cli.alarm_cli add-conditional --help

# Examples (syntax may vary based on your implementation):
python3 -m src.cli.alarm_cli add-conditional "complex_temp_humidity" "device-1" "temperature > 25 AND humidity > 70" 2 "High temp and humidity combo"

python3 -m src.cli.alarm_cli add-conditional "multi_sensor_alert" "device-1" "temperature > 30 OR humidity > 85" 3 "Critical environmental conditions"

python3 -m src.cli.alarm_cli add-conditional "range_check" "device-1" "temperature < 15 OR temperature > 35" 2 "Temperature out of range"

python3 -m src.cli.alarm_cli add-conditional "battery_and_temp" "device-1" "battery < 15 AND temperature > 40" 3 "Low battery with high temperature"

python3 -m src.cli.alarm_cli add-conditional "night_motion" "security-device" "motion == 1 AND light < 50" 2 "Motion detected in dark conditions"
### 3. list - List All Alarm Rules
# List all alarm rules
python3 -m src.cli.alarm_cli list

# Check if list supports additional options (try these):
python3 -m src.cli.alarm_cli list --help

# Possible variations (if supported):
python3 -m src.cli.alarm_cli list --device "device-1"
python3 -m src.cli.alarm_cli list --verbose
python3 -m src.cli.alarm_cli list --active-only
python3 -m src.cli.alarm_cli list --inactive-only
### 4. delete - Delete Alarm Rules
# Delete a specific rule by name
python3 -m src.cli.alarm_cli delete "temp_high"

# Delete multiple rules (if supported)
python3 -m src.cli.alarm_cli delete "temp_high" "temp_low"

# Check delete command options
python3 -m src.cli.alarm_cli delete --help

# Possible variations (if supported):
python3 -m src.cli.alarm_cli delete --device "device-1" # Delete all rules for a device
python3 -m src.cli.alarm_cli delete --all # Delete all rules
python3 -m src.cli.alarm_cli delete --inactive # Delete inactive rules
### 5. show - Show Specific Rule Details
# Show details of a specific rule
python3 -m src.cli.alarm_cli show "temp_high"

# Show details of multiple rules
python3 -m src.cli.alarm_cli show "temp_high" "humidity_high"

# Check show command options
python3 -m src.cli.alarm_cli show --help

# Possible variations (if supported):
python3 -m src.cli.alarm_cli show "temp_high" --verbose
python3 -m src.cli.alarm_cli show "temp_high" --history
python3 -m src.cli.alarm_cli show "temp_high" --stats
### 6. active - View Active Alarms
# List all currently active/triggered alarms
python3 -m src.cli.alarm_cli active

# Check active command options
python3 -m src.cli.alarm_cli active --help

# Possible variations (if supported):
python3 -m src.cli.alarm_cli active --device "device-1"
python3 -m src.cli.alarm_cli active --priority 3
python3 -m src.cli.alarm_cli active --verbose
python3 -m src.cli.alarm_cli active --count
python3 -m src.cli.alarm_cli active --since "2024-01-01"
python3 -m src.cli.alarm_cli active --last-hour
## Common Workflow Examples
### Initial Setup - Create Basic Monitoring Rules
# Temperature monitoring
python3 -m src.cli.alarm_cli add-simple "temp_warning" "device-1" "temperature" ">" 30.0 1 "Temperature warning"
python3 -m src.cli.alarm_cli add-simple "temp_critical" "device-1" "temperature" ">" 40.0 3 "CRITICAL: High temperature"
python3 -m src.cli.alarm_cli add-simple "temp_low" "device-1" "temperature" "<" 5.0 2 "Low temperature alert"

# Humidity monitoring
python3 -m src.cli.alarm_cli add-simple "humidity_high" "device-1" "humidity" ">" 75.0 2 "High humidity detected"
python3 -m src.cli.alarm_cli add-simple "humidity_low" "device-1" "humidity" "<" 25.0 1 "Low humidity warning"

# System monitoring
python3 -m src.cli.alarm_cli add-simple "battery_warning" "device-1" "battery" "<" 20.0 2 "Battery running low"
python3 -m src.cli.alarm_cli add-simple "battery_critical" "device-1" "battery" "<" 5.0 3 "CRITICAL: Battery very low"
### Daily Operations
# Check what rules are configured
python3 -m src.cli.alarm_cli list

# Check for any active alarms
python3 -m src.cli.alarm_cli active

# View details of specific rules
python3 -m src.cli.alarm_cli show "temp_warning"
python3 -m src.cli.alarm_cli show "battery_critical"
### Rule Management
# Add a new rule
python3 -m src.cli.alarm_cli add-simple "new_sensor_alert" "device-2" "co2" ">" 1000 2 "CO2 levels high"

# Check if it was added
python3 -m src.cli.alarm_cli list

# View the new rule details
python3 -m src.cli.alarm_cli show "new_sensor_alert"

# Remove rule if needed
python3 -m src.cli.alarm_cli delete "new_sensor_alert"
### Multi-Device Setup
# Device 1 - Environmental monitoring
python3 -m src.cli.alarm_cli add-simple "d1_temp_high" "device-1" "temperature" ">" 28.0 2 "Device 1: High temperature"
python3 -m src.cli.alarm_cli add-simple "d1_humidity_high" "device-1" "humidity" ">" 70.0 2 "Device 1: High humidity"

# Device 2 - Security monitoring
python3 -m src.cli.alarm_cli add-simple "d2_motion" "device-2" "motion" "==" 1 1 "Device 2: Motion detected"
python3 -m src.cli.alarm_cli add-simple "d2_door_open" "device-2" "door" "==" 1 2 "Device 2: Door opened"

# Device 3 - System monitoring
python3 -m src.cli.alarm_cli add-simple "d3_power_low" "device-3" "power" "<" 15.0 3 "Device 3: Low power"
python3 -m src.cli.alarm_cli add-simple "d3_signal_weak" "device-3" "signal" "<" 30.0 1 "Device 3: Weak signal"

# List all rules to verify
python3 -m src.cli.alarm_cli list
### Get Help
# General help
python3 -m src.cli.alarm_cli --help

# Command-specific help
python3 -m src.cli.alarm_cli add-simple --help
python3 -m src.cli.alarm_cli add-conditional --help
python3 -m src.cli.alarm_cli list --help
python3 -m src.cli.alarm_cli delete --help
python3 -m src.cli.alarm_cli show --help
python3 -m src.cli.alarm_cli active --help
## Operators Supported
Based on your example, these operators should be available:
- > (greater than)
- < (less than)
- >= (greater than or equal)
- <= (less than or equal)
- == (equal to)
- != (not equal to)
## Priority Levels
- 1 - Low priority / Info
- 2 - Medium priority / Warning
- 3 - High priority / Critical
This covers all the commands available in your current CLI implementation. Try the --help option with each command to see the specific parameters and options available for your implementation.